## Overview Training CW
Checkweigher | Name of Training: | Basic Training (Grundlagenschulung) | Operator Training (Bedienerschulung) | Maintenance Training (Wartungsschulung) | Training of Service Technician | Training of Sales Employee
| Target Customer: | Endcustomer Training |  |  | Internal & Partner Training
| Who & How | At Customers Site by Service, best if directly after commisioning (Inhouse Optional) |  |  | Inhouse at Academy Trainingcenter (External optional
1. Principals of technology | Principals of Checkweighing | þ | þ | þ | þ | þ
| Risk of damages | þ | þ | þ | þ | þ
| Cleaning advice | þ | þ | þ | þ | þ
1.1 Influences | Friction free areas | þ | þ | þ | þ | þ
| Vibrations | þ | þ | þ | þ | þ
2. Operation Risks | Reject Device | þ | þ | þ | þ | þ
| Drives & conveyor | þ | þ | þ | þ | þ
| Rejected product |  | þ | þ | þ | þ
3. Operation | Start / Stop Batch |  | þ | þ | þ | þ
| Create new product |  | þ | þ | þ | þ
| Change / Download a new Product |  | þ | þ | þ | þ
| Copy existing product |  | þ | þ | þ
| Modifiy after Batch |  | þ | þ | þ
| Statistics |  | þ | þ | þ
| Reports |  | þ | þ | þ
| Software menu and displays |  | þ | þ | þ | þ
| Lights & functions |  | þ | þ | þ
| Backup / save to USB |  | þ | þ | þ
| Fault reports |  |  | þ | þ
| Remove products safely |  | þ | þ | þ
4. Checks & Verification | Reject confirmation check |  | þ | þ | þ
| Air pressure check |  | þ | þ | þ
| Bin full check |  | þ | þ | þ
| Accuracy testing (TU2 reject test) |  | þ | þ | þ
| Classification operation mode |  | þ | þ | þ
| Check of displayed product type |  | þ | þ | þ
5. Settings | Reject timing and port settings |  |  | þ | þ
| Customisation of parameters |  |  | þ | þ
| Optimise accuracy |  | þ | þ | þ
| Teach-in of new product |  |  | þ | þ
| Trend Control |  |  | þ | þ
| Parameters reject mode |  |  | þ | þ
| Static and dynamic weighing check |  |  | þ | þ
| Belt-Stop & Alarms |  |  | þ | þ
| Bin door lock / timer |  |  | þ | þ
| Relay setup of fault signals |  |  | þ | þ
| Password Setup |  |  | þ | þ
| Dynamic correction |  |  | þ | þ
| Linearisation |  |  |  | þ
| Weightcell parameters |  |  |  | þ
6. Maintenance | Replace wearing parts |  |  | þ | þ
| Maintenance intervalls |  |  | þ | þ
| Tracking |  |  | þ | þ
| Fault diagnostics |  |  | þ | þ
| Preventice Maintenance |  | þ | þ | þ
| Check of Outputs and signals |  |  | þ | þ
| Identification of wearing parts |  |  | þ | þ | þ
7. Troubleshooting / Reparing | Commisioning of product |  |  |  | þ
| Troubleshooting & Diagnostics |  |  |  | þ
| Layout of machine and hardware components |  |  |  | þ
| Replacing of Hardware |  |  |  | þ
| Updating of Software |  |  |  | þ
| Reporting of Issues |  |  |  | þ
8. Dokumentation | Where to find service support documentation |  |  |  | þ
| Where to find manuals, sparepartlist aso. |  |  |  | þ | þ
| Where to find sales support material |  |  |  |  | þ
| Price list |  |  |  |  | þ
| Correct failure free use of configuration tool |  |  |  |  | þ
| Correct failure free use of questionnaire |  |  |  |  | þ
9. Product configuration | Available products in portfolio |  |  |  |  | þ
| Available options for product |  |  |  |  | þ
10. Application | Customer benefits of product |  |  |  |  | þ
| Installation points of product |  |  |  |  | þ
| Knowledge about different applications |  |  |  |  | þ
| Identifiy applications at customers site |  |  |  |  | þ
Comparions between different product solutions

## Overview Training MD
Metal Detection | Name of Training: | Basic Training (Grundlagenschulung) | Operator Training (Bedienerschulung) | Maintenance Training (Wartungsschulung) | Training of Service Technician | Training of Sales Employee
| Target Customer: | Endcustomer Training |  |  | Internal & Partner Training
| Who & How | At Customers Site by Service, best if directly after commisioning (Inhouse Optional) |  |  | Inhouse at Academy Trainingcenter (External optional
1. Principals of technology | Principals of metal detection | þ | þ | þ | þ | þ
| Risk of damages | þ | þ | þ | þ | þ
| Cleaning advice | þ | þ | þ | þ | þ
1.1 Influences | Metal free zone | þ | þ | þ | þ | þ
| Effects of vibration | þ | þ | þ | þ | þ
| Product effect | þ | þ | þ | þ | þ
| Product / contamination orientation | þ | þ | þ | þ | þ
| Product & detector size | þ | þ | þ | þ | þ
| Different Contaminations (metals) | þ | þ | þ | þ | þ
| Shape of contamination | þ | þ | þ | þ | þ
| Ambient influences | þ | þ | þ | þ | þ
2. Operation Risks | Reject Device | þ | þ | þ | þ | þ
| Drives | þ | þ | þ | þ | þ
| Rejected Product | þ | þ | þ | þ | þ
3. Operation | Start / Stop Batch |  | þ | þ | þ | þ
| Create new product |  | þ | þ | þ | þ
| Change / Download a new Product |  | þ | þ | þ | þ
| Copy existing product |  | þ | þ | þ
| Modifiy after Batch |  | þ | þ | þ
| Modifiy Sensitivity and Validation |  | þ | þ | þ
| Statistics |  | þ | þ | þ
| Reports |  | þ | þ | þ
| Software menu and displays |  | þ | þ | þ | þ
| Lights & functions |  | þ | þ | þ
| Backup / save to USB |  | þ | þ | þ
| Fault reports |  |  | þ | þ
| Remove products safely |  | þ | þ | þ
4. Checks & Verification | Reject confirmation check |  | þ | þ | þ
| Air pressure check |  | þ | þ | þ
| Bin full check |  | þ | þ | þ
| Sensitivity testing |  | þ | þ | þ
| Classification operation mode |  | þ | þ | þ
| Check of displayed product type |  | þ | þ | þ
5. Settings | Reject timing and port settings |  |  | þ | þ
| Customisation of parameters |  |  | þ | þ
| Optimise sensitivity |  | þ | þ | þ
| Teach-in of new product |  |  | þ | þ
| Parameters reject mode |  |  | þ | þ
| Belt-Stop & Alarms |  |  | þ | þ
| Bin door lock / timer |  |  | þ | þ
| Relay setup of fault signals |  |  | þ | þ
| Password Setup |  |  | þ | þ
| Phase Angle Adjustments |  |  | þ | þ
| Auto-Balance funtion |  |  | þ | þ
| Dual Channel |  |  | þ | þ
| Ambient Noise detection |  | þ | þ | þ
| Reduction of fals rejects |  |  | þ | þ
| Defining of detection limits |  |  | þ | þ
6. Maintenance | Replace wearing parts |  |  | þ | þ
| Maintenance intervalls |  |  | þ | þ
| Tracking |  |  | þ | þ
| Fault diagnostics |  |  | þ | þ
| Preventice Maintenance |  | þ | þ | þ
| Check of Outputs and signals |  |  | þ | þ
| Identification of wearing parts |  |  | þ | þ | þ
7. Troubleshooting / Reparing | Commisioning of product (Teraterm) |  |  |  | þ
| Troubleshooting & Diagnostics |  |  |  | þ
| Layout of machine and hardware components |  |  |  | þ
| Replacing of Hardware |  |  |  | þ
| Updating of Software |  |  |  | þ
| Reporting of Issues |  |  |  | þ
| MD-Tracer |  |  |  | þ
8. Documentation | Where to find service support documentation |  |  |  | þ
| Where to find manuals, sparepartlist aso. |  |  |  | þ | þ
| Where to find sales support material |  |  |  |  | þ
| Price list |  |  |  |  | þ
| Correct failure free use of configuration tool |  |  |  |  | þ
| Correct failure free use of questionnaire |  |  |  |  | þ
9. Product configuration | Available products in portfolio |  |  |  |  | þ
| Available options for product |  |  |  |  | þ
10. Application | Customer benefits of product |  |  |  |  | þ
| Installation points of product |  |  |  |  | þ
| Retailer and IFS / BRC requirements |  |  |  |  | þ
| Knowledge about different applications |  |  |  |  | þ
| Identifiy applications at customers site |  |  |  |  | þ
Comparions between different product solutions

## Overview Training X-Ray
X-Ray | Name of Training: | Basic Training (Grundlagenschulung) | Operator Training (Bedienerschulung) | Maintenance Training (Wartungsschulung) | Training of Service Technician | Training of Sales Employee
| Target Customer: | Endcustomer Training |  |  | Internal & Partner Training
| Who & How | At Customers Site by Service, best if directly after commisioning (Inhouse Optional) |  |  | Inhouse at Academy Trainingcenter (External optional
1. Principals of technology | Principals of X-ray detection | þ | þ | þ | þ | þ
| Risk of damages | þ | þ | þ | þ | þ
| Cleaning advice | þ | þ | þ | þ | þ
1.1 Influences | Absorbtion by atomic mass (density) | þ | þ | þ | þ | þ
| Different Contaminations (metals) | þ | þ | þ | þ | þ
| Product / Contamination orientation | þ | þ | þ | þ | þ
| Shape of contamination | þ | þ | þ | þ | þ
| Homogenity of product | þ | þ | þ | þ | þ
| Position of contamination | þ | þ | þ | þ | þ
2. Operation Risks | Danger of radiation | þ | þ | þ | þ | þ
| Protection of radiation | þ | þ | þ | þ | þ
| Safety curcuits & lights |  | þ | þ | þ | þ
3. Operation | Start / Stop Batch |  | þ | þ | þ | þ
| Create new product |  | þ | þ | þ | þ
| Change / Download a new Product |  | þ | þ | þ | þ
| Copy existing product |  | þ | þ | þ
| Modifiy after Batch |  | þ | þ | þ
| Modifiy Sensitivity and Validation |  | þ | þ | þ
| Statistics |  | þ | þ | þ
| Reports |  | þ | þ | þ
| Software menu and displays |  | þ | þ | þ | þ
| Lights & functions |  | þ | þ | þ
| Backup / save to USB |  | þ | þ | þ
| Fault reports |  |  | þ | þ
| Remove products safely |  | þ | þ | þ
| Radiation Leak test |  | þ | þ | þ
4. Checks & Verification | Reject confirmation check |  | þ | þ | þ
| Air pressure check |  | þ | þ | þ
| Bin full check |  | þ | þ | þ
| Sensitivity testing |  | þ | þ | þ
| Classification operation mode |  | þ | þ | þ
| Check of displayed product type |  | þ | þ | þ
5. Settings | Reject timing and port settings |  |  | þ | þ
| Customisation of parameters |  |  | þ | þ
| Optimise sensitivity |  | þ | þ | þ
| Teach-in of new product |  |  | þ | þ
| Border Masking |  |  | þ | þ
| Parameters reject mode |  |  | þ | þ
| Belt-Stop & Alarms |  |  | þ | þ
| Bin door lock / timer |  |  | þ | þ
| Relay setup of fault signals |  |  | þ | þ
| Password Setup |  |  | þ | þ
| Easy Debug |  |  | þ | þ
| Detector Test |  |  | þ | þ
| I-O Test |  |  | þ | þ
| Reduction of fals rejects |  |  | þ | þ
| Defining of detection limits |  |  | þ | þ
6. Maintenance | Replace wearing parts |  |  | þ | þ
| Maintenance intervalls |  |  | þ | þ
| Tracking |  |  | þ | þ
| Fault diagnostics |  |  | þ | þ
| Preventice Maintenance |  | þ | þ | þ
| Check of Outputs and signals |  |  | þ | þ
| Identification of wearing parts |  |  | þ | þ | þ
7. Troubleshooting / Reparing | Commisioning of product ( |  |  |  | þ
| Troubleshooting & Diagnostics |  |  |  | þ
| Layout of machine and hardware components |  |  |  | þ
| Replacing of Hardware |  |  |  | þ
| Updating of Software |  |  |  | þ
| Reporting of Issues |  |  |  | þ
8. Dokumentation | Where to find service support documentation |  |  |  | þ
| Where to find manuals, sparepartlist aso. |  |  |  | þ | þ
| Where to find sales support material |  |  |  |  | þ
| Price list |  |  |  |  | þ
| Correct failure free use of configuration tool |  |  |  |  | þ
| Correct failure free use of questionnaire |  |  |  |  | þ
9. Product configuration | Available products in portfolio |  |  |  |  | þ
| Available options for product |  |  |  |  | þ
10. Application | Customer benefits of product |  |  |  |  | þ
| Installation points of product |  |  |  |  | þ
| Knowledge about different applications |  |  |  |  | þ
| Identifiy applications at customers site |  |  |  |  | þ
Comparions between different product solutions

## Overview Training SPC@E
SPC@Enterprise | Name of Training: | Operator Training (Prüfstationg) | Operator Training (Office Bediener) | Admintraining (Wartungsschulung)
| Target Customer: | Endcustomer Training
| Who & How | At Customers Site by Service, best if directly after commisioning (Inhouse Optional)
1. System Übersicht | Arbeitsweise bezogen auf die installierte Konfiguration | þ | þ | þ
2. Management – Konfiguration | Grundeinstellungen und Vorgaben |  | þ | þ
3. Management – Benutzerverwaltung | Benutzer anlegen |  | þ | þ
| Rollen anlegen |  | þ | þ
4. Hauptmodul (Stammdaten) | Produkte anlegen |  | þ
| Maschinen anlegen |  | þ
| Prüfmittel anlegen (Dichte?) |  | þ
| Attribute anlegen |  | þ
| Attributmerkmale anlegen |  | þ
| SPC Prüfmittel / Prüfmerkmale |  | þ
5. Hauptmodul (Planungsassistent) | Testpläne anlegen |  | þ
| verschiedene Taramodi |  | þ
| Taraprüfung |  | þ
| Dichteprüfung |  | þ
| Prüfpläne, Prüfaufträge |  | þ
| Kopierfunktionen für Attribute |  | þ
| Kopierfunktionen für SPC |  | þ
6. Hauptmodul (Planungsassistent) | Stationen, Konfiguration von PC-Stationen |  | þ | þ
| Grenzen |  | þ
| Kommentare |  | þ
| Konfiguration |  | þ
7. Monitoring | Mitl. Stichprobenprotokoll |  | þ
| Konfiguration, Alarmkonfiguration |  | þ
| Monitor |  | þ
| Alarmliste |  | þ
8. Auswertung | Statistiken, Stichproben |  | þ
| Checkweigher-Stichproben |  | þ
| Filter und Gruppenfunktionen, Tabellenpassung, Export |  | þ
| Drucken, automatischer Statistik-Druck |  | þ
| Konfiguration |  | þ
9. PC-Sampling | Setup-Einstellungen |  | þ | þ
| Prüfmitteleinstellungen |  | þ | þ
10. Common-Sampling | Porteinstellungen |  | þ | þ
| Monitor |  | þ | þ
| Service-Einstellungen |  | þ | þ
| Setup am Combics 3 FPK Terminal |  | þ | þ
| Grundeinstellungen Applikation |  | þ | þ
| Softkey-Zuweisung |  | þ | þ
| Setup am Checkweigher anpassen |  | þ | þ
11. Prüfungen durchführen - Combics FPK | Gewichtskontrolle am Combics3 FPK | þ | þ
| Tarakontrolle ggf. Dichteeingabe / variable Tara / zerstörende Prüfung (mit Storno Einwaage) je nach Bedarf. Storno letzte Stichprobe. | þ | þ
| Verstellempfehlung | þ | þ
| Auswertung / Grafik mit Info | þ | þ
| Attributprüfung am Combics3 FPK | þ | þ
| Chargenstart / Chargenstopp am Checkweigher | þ | þ
12. Prüfungen durchführen - PC Prüfstation | Gewichtskontrolle an PC Prüfstation | þ | þ
| Tarakontrolle ggf. Dichteeingabe / variable Tara / zerstörende Prüfung (mit Storno Einwaage) je nach Bedarf. Storno letzte Stichprobe. | þ | þ
| Verstellempfehlung | þ | þ
| Auswertung / Grafik | þ | þ
| Attributprüfung an PC-Prüfstation | þ | þ
| Auswertung | þ | þ
| SPC Prüfung an PC-Prüfstation | þ | þ
| Auswertung | þ | þ
| Kommentareingabe an PC-Prüfstation | þ | þ
13. Prüfungen durchführen - Checkweigher | Chargenstart / Chargenstopp am Checkweigher | þ | þ
14. Systemadministration | System Administration im laufenden Betrieb |  |  | þ
| Systemsicherung |  |  | þ
| SQL Datenbank Backup in Management Studio |  |  | þ
| Ansprechpartner für Support |  |  | þ

## Overview Training IS
Industrial Scales | Name of Training: | Basic Training (Grundlagenschulung) | Operator Training (Bedienerschulung) | Metrologie (FPV/ Eiche/ DKD / USP | Training of Service Technician | Training of Sales Employee
| Target Customer: | Endcustomer Training |  |  | Internal & Partner Training
| Who & How | At Customers Site by Service, best if directly after commisioning (Inhouse Optional) |  |  | Inhouse at Academy Trainingcenter (External optional
1. Principals of technology | Principals of weighing technology | þ | þ |  | þ | þ
| Basics about Bench- & Plattformscales | þ | þ
| Conparison between DMS & EMC technology | þ | þ | þ | þ | þ
| What is a "measuring device" | þ | þ | þ | þ | þ
| Overview of technical feasabilities. | þ | þ |  | þ | þ
| Risk of product damages | þ | þ
| Cleaning advice |  | þ
1.1 Influences | Negative influence factors for the weighing result | þ | þ | þ | þ | þ
| Correct connection of neutral cabel (EX) |  | þ |  | þ | þ
| Ambient influences |  | þ |  | þ | þ
þ
2. Operation Risks | Tipps & Tricks for the daily use | þ | þ | þ | þ | þ
| Overloading of a loadcell | þ | þ |  | þ | þ
| Preventing damages | þ | þ |  | þ | þ
| Save operation of prodcut |  | þ | þ | þ | þ
|  |  | þ |  | þ | þ
3. Operation | Efficient operation |  | þ |  | þ | þ
| Inbetriebnahme |  | þ |  | þ | þ
| Anlernen von Applikationen |  | þ |  | þ | þ
| Configuring a Printout (Weighing) |  | þ |  |  | þ
| Interpretation of used sybols |  | þ | þ
4. Checks & Verification | What is a "test equipment" | þ | þ | þ | þ | þ
| Prüfmittelbauftrager | þ |  | þ | þ | þ
| Calibration | þ | þ | þ | þ | þ
| Zeroing |  | þ | þ | þ | þ
| Verification Seal, proper use and avoid fracture |  | þ |  | þ | þ
| Daily check of calibration and adjustment |  | þ | þ
5. Settings | Overview of parameters |  | þ |  | þ | þ
| Optimisation of settings |  | þ |  | þ | þ
Optimise accuracy
| Overview Differend Adjustment Procedures |  |  |  | þ | þ
| Performing Differend Adjustment Procedures |  |  |  | þ
6. Maintenance | Replace wearing parts |  |  |  | þ | þ
| Maintenance intervalls |  | þ |  | þ | þ
| Tracking |  |  |  | þ
| Fault diagnostics |  |  |  | þ
| Preventice Maintenance |  | þ |  | þ
| Check of Outputs and signals |  |  |  | þ
| Identification of wearing parts |  |  |  | þ | þ
| Error Overview |  |  |  | þ
| Using Service Tools |  |  |  | þ
| Replacement of Defective Parts |  |  |  | þ
7. Troubleshooting / Reparing | Commisioning of product |  |  |  | þ
| Troubleshooting & Diagnostics |  |  |  | þ
| Layout of product and hardware components |  |  |  | þ
| Replacing of Hardware |  |  |  | þ
| Updating of Software |  |  |  | þ
| Reporting of Issues |  |  |  | þ
| TMS-Pro |  |  |  | þ
| Sartocas |  |  |  | þ
| CAS Suite |  |  |  | þ
| PpLoader |  |  |  | þ
8. Documentation | Where to find service support documentation |  | þ |  | þ
| Where to find manuals, sparepartlist aso. |  | þ |  | þ | þ
| Where to find sales support material |  |  |  |  | þ
| Price list |  |  | þ |  | þ
| Interpretation / interpretation of the DAkkS certificate |  |  | þ
| Interpretation of the USP certificate |  |  | þ
| Minimum weight according to different criteria and requirements |  |  | þ
| calibration tolerances and the main requirements of the current calibration law |  |  | þ
| Correct failure free use of product configuration |  |  |  |  | þ
þ
9. Product configuration | Available products in portfolio
| Available options for product |  |  |  | þ | þ
| Operating Design |  |  |  | þ | þ
| Overview Applications |  |  |  | þ | þ
| Overview Interfaces |  |  |  | þ | þ
| Overview Options |  |  |  | þ | þ
| Overview Accessories |  |  |  | þ | þ
| Models for Harardous Areas – Overview |  |  |  | þ | þ
10. Application | Customer benefits of product |  |  |  | þ
| Installation points of product |  |  |  | þ | þ
| Knowledge about different applications |  |  |  | þ | þ
| Identifiy applications at customers site |  |  |  | þ | þ
| Comparions between different product solutions |  |  |  | þ | þ
| Basics of Hazardous Areas and Explosion Protection (short version) |  |  |  | þ | þ

## Training Report
Training Report
| 1. | 2. | 3. | 4. | 5. | 6.
Name of Trainee: | 1.: Mr. Example 1; 2.: Mr. Example 2
Date & Location: | 1.: 01.01.2016 at Examplesite
Name of Training: | 1.: Operator Training
Achieved grades during the training
1. Principals of technology | bar: 1. to 2.
1.1 Influences | bar: 1. to 2.
2. Operation Risks | bar: 1. to 2.
3. Operation | bar: 1. to 2.
4. Checks & Verification | bar: 1. to 2.
5. Settings | bar: 1. to 2.
6. Maintenance | bar: 1. to 2.
7. Troubleshooting / Reparing | bar: 1. to 2.
8. Dokumentation | bar: 1. to 2.
9. Product configuration | bar: 1. to 2.
10. Application | bar: 1. to 2.
Overall Grade of Trainee: | bar: 1. to 2.
Definiton of grades: A: Trainee has demonstrated when questioned a good understanding of training content B: Trainee has demonstrated an understanding of training content C: Trainee has demonstrated interesst to training content F: Trainee has failed to demonstrate an understanding of training content N: Chapter was not part of Training Overall Grade of Trainer for Trainee is relevant to define if Training certificate is issued. If Trainee failed back-office will recommend further trainings
Name of Minebea Trainer: | 1.: Example Trainer 1; 3.: Signature:; 4.: XXXXX
For Internal Use Only:
Order No. | 2.: Invoice No.; 4.: Send filled report to: Academy@minebea-intec.com